{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["物料","清单"],"read":"whole","date_system":"1900"}

{"sheet":"物料","index":0,"n_rows":10,"n_cols":3,"rows_kept":10}
["项目名称","项目编号","项目类型"]
["空气滤器等","CGB2023-0606-0303","物料"]
["Stunner芯片板","CGB2023-0606-0304","物料"]
["白喉抗毒素抗体生物检定参照物","CGB2023-0606-0305","物料"]
["黄色防静电布垫布等","CGB2023-0606-0306","物料"]
["不锈钢桌子","CGB2023-0606-0307","物料"]
["泵管等","CGB2023-0606-0308","物料"]
["拖线板插座等","CGB2023-0606-0309","物料"]
["口腔支原体等","CGB2023-0606-0310","物料"]
["过滤器等","CGB2023-0606-0311","物料"]

{"sheet":"清单","index":1,"n_rows":93,"n_cols":14,"rows_kept":93}
["序号","物料号","物品名称","规格型号","货号","厂家","计划数量","单位","SAP申请码","需求科室","计划包编号","项目名称","采购方式","备注及URS"]
[1,50080548,"空气滤器","疏水性PTFE，0.45微米，10英寸，226接口",null,"/",10,"个",11475706,"科研管理部",2023060510,"空气滤器等","公开竞谈","10英寸0.45um滤芯底部带有226接口。\n经过121度以上30分钟高压蒸汽灭菌测试及完整性测试。\n内毒素含量<0.25EU/mL，不含可见异物。\n气瓶间使用，作为气体初级过滤滤芯。"]
[2,50027609,"方瓶","T225",431081,"康宁",130,"包",11475910,"科研管理部",{"$nulls":3},"聚苯乙烯，无菌无热源，密闭性合格，生物安全性检测合格，理化安全性检测合格，表面亲水性检测合格"]
[3,50027612,"冻存管","5ml，50个/包，10包/箱",430663,"康宁",10000,"支",11476342,"科研管理部",{"$nulls":3},"描述： 5ml冻存管，自立式 外旋密盖 PP（聚丙烯）材质 灭菌 大包装 硅胶垫圈\n包装：50个/包，10包/箱\n原材料级别：PP，灭菌\n无DNase/RNase：是\n无热原：是\n质控：出厂检测报告\n特点：\n1. 冻存管采用医用聚丙烯（PP）为原料，是专用于储存生物样本的一次性实验室耗材。在液氮的气体状态环境下，可承受低至-196°C的温度。独特的外旋设计避免了交叉污染的可能性。\n2.5ml容量，圆底\n3.确保密封\n4.经过无热原认证\n5.无菌"]
[4,50062958,"无尘纸","B级，A4，35张/包，10包/箱，白色，可灭菌（至少121℃，30分钟）",null,"/",2,"箱",11475947,"科研管理部"]
[5,50039106,"8联排PCR管","0.2 mL","PCR-0208-C","Axygen",20,"盒",11475949,"科研管理部",{"$nulls":3},"描述：Axygen® 0.2 mL薄壁8联PCR管有多种颜色可选，适合各种PCR仪。一致的超薄管壁有助于实现精确的热传递，均匀的插入式盖可确保紧密配合，防止蒸发。\n不含RNase/DNase\n无热原\n非灭菌\n盖子需单独购买\n采用纯度为99.9%的原生聚丙烯制成\n包装：125排/包，10包/箱  "]
[6,50039107,"8联排PCR管盖","0.2 mL","PCR-2CP-RT-C","Axygen",20,"盒",11475950,"科研管理部",{"$nulls":3},"描述：Axygen® 1 x 8 PCR超透明薄壁联排管平盖适用于8联PCR管和96孔PCR微孔板。专为实时荧光定量PCR设计。\n不含RNase/DNase\n无热原\n非灭菌\n适合荧光、化学发光和实时荧光定量PCR应用\n透光率高75%\n采用纯度为99.9%的原生聚丙烯制成\n包装：125排/包 ，10包/箱"]
[7,50007808,"层析柱","1支/盒/径16mm×高100cm","HC-0120-10","瑞达恒辉",5,"个",11475979,"科研管理部"]
[8,50007809,"层析柱","1支/盒/径16mm×高20cm","HC-0120-02","瑞达恒辉",5,"个",11475981,"科研管理部"]
[9,50037289,"层析柱","1支/盒/径55mm×高20cm","HC-0160-02","瑞达恒辉",2,"个",11475982,"科研管理部"]
[10,50079006,"96孔版-半裙边","10块/盒,5盒/箱","HC96212-05","GENSTAR",10,"盒",11475783,"科研管理部",{"$nulls":3},"名称：0.2ml 96孔PCR板，半裙边，磨砂透明单切角；货号：HC96212-05；厂家：Genstar；规格：10块/盒,5盒/箱；价格：¥1425；适用机型：ABI的ViiA 7、7000/7300/7500、QuantStudio系列Q3/Q5/Q6/Q7/Q12；Bio-Rad的IQ系列、 Mini Opticon系列；Agilent的MX3000P、MX3005P\n参数：①体积：0.2mL；②孔数：96孔；③颜色：磨砂透明 ④设计：半裙边；"]
[11,50079002,"0.2ml qPCR 8联排管，平盖，透明","125套/盒,5盒/箱","PL08200-05","GENSTAR",50,"盒",11475874,"科研管理部",{"$nulls":3},"名称：0.2ml PCR 8联排管，平盖，透明；货号：HC08200-05；规格：125套/盒,5盒/箱；价格：¥4200；适用机型：ABI的ViiA 7、7000/7300/7500、QuantStudio系列Q3/Q5/Q6/Q7/Q12参数：①体积：0.2mL ②颜色：透明 ③盖子：光学透明盖 "]
[12,50079003,"PCR板配套封板膜","50片/盒","HC96552-05","GENSTAR",10,"盒",11475873,"科研管理部",{"$nulls":3},"规格：50片/盒；参数：①压敏 ②透明；"]
[]
[1,50078762,"Stunner芯片板","40块/箱","701-2022","Unchained Labs",5,"箱",11475895,"科研管理部",2023060511,"Stunner芯片板","公开竞谈","可配套使用Stunner粒径检测仪器(unchained labs)"]
[]
[1,50082242,"白喉抗毒素抗体生物检定参照物","89.4mg/支","10/262","NIBSC",10,"支",11479036,"科研管理部",2023060512,"白喉抗毒素抗体生物检定参照物","公开竞谈","在海关检验检疫系统完成单位备案，并提供二级病原微生物实验室备案凭证，名称在《病原微生物名录》中的要在实验室活动范围中列明。"]
[2,50082241,"百日咳抗血清生物检定参照物","1.0-2.0g/支","06/140","NIBSC",10,"支",11479037,"科研管理部",{"$nulls":3},"在海关检验检疫系统完成单位备案，并提供二级病原微生物实验室备案凭证，名称在《病原微生物名录》中的要在实验室活动范围中列明。"]
[3,50082240,"白喉和破伤风抗毒素生物检定参照物","0.5ml/支","98/572","NIBSC",5,"支",11479038,"科研管理部"]
[4,50082239,"百日咳丝状血凝素生物检定参照物","0.5-1.0g/支","90/520","NIBSC",5,"支",11479039,"科研管理部",{"$nulls":3},"在海关检验检疫系统完成单位备案，并提供二级病原微生物实验室备案凭证，名称在《病原微生物名录》中的要在实验室活动范围中列明。"]
[5,50082238,"百日咳抗血清生物检定参照物","7支/套","18/146","NIBSC",5,"支",11479040,"科研管理部"]
[6,50082237,"百日咳粘附素生物检定参照物","0.5-1.0g/支","18/154","NIBSC",5,"支",11479041,"科研管理部",{"$nulls":3},"在海关检验检疫系统完成单位备案，并提供二级病原微生物实验室备案凭证，名称在《病原微生物名录》中的要在实验室活动范围中列明。"]
[]
[1,60045181,"黄色防静电布垫布","防静电垫布，尺寸：1.3M*1.6M，用于生物安全应急箱",null,"/",30,"块",11475754,"科研管理部",2023060513,"黄色防静电布垫布等","公开竞谈"]
[2,60063003,"蓝毛巾","国产 全棉毛巾 30*70cm 长款蓝色",null,"/",70,"个",11475717,"科研管理部"]
[3,60018349,"白毛巾","国产 全棉毛巾 30*70cm 长款白色",null,"/",70,"个",11475718,"科研管理部"]
[4,60042283,"一次性防护服","L号","AMN428ETS","雷克兰",25,"套",11475756,"科研管理部"]
[5,60061922,"CNC鞋","EVA材质，用于洁净区CNC级别，白色，防水，防滑","CZ3457","铂雅医护",80,"双",11475797,"科研管理部",{"$nulls":3},"XL 20/2XL 20/3XL 20/4XL 20"]
[6,60057029,"C级鞋","EVA材质，用于洁净区C级别，浅蓝色，防水，防滑","CZ3457","铂雅医护",80,"双",11475844,"科研管理部",{"$nulls":3},"XL 20/2XL 20/3XL 20/4XL 20"]
[7,60060354,"D级鞋","EVA材质，用于洁净区D级别，深蓝色，防水，防滑","CZ3457","铂雅医护",20,"双",11475798,"科研管理部",{"$nulls":3},"XL 5/2XL 5/3XL 15/4XL 15"]
[8,60049461,"液氮防护套装（液氮防护手套、液氮防护围裙、液氮防护鞋、液氮防护帽）","防冻伤",null,"/",2,"套",11475807,"科研管理部",{"$nulls":3},"附图"]
[9,60043414,"医用一次性防护服","白底蓝条",null,"/",75,"件",11475836,"科研管理部"]
[10,60042631,"耐高温手套","丁腈耐高温劳保手套",null,"霍尼韦尔",10,"付/副",11475837,"科研管理部"]
[11,60028914,"40cm橡胶手套","40cm，耐酸碱",null,"/",20,"付/副",11475838,"科研管理部"]
[12,60021072,"隔离器手套","丁腈橡胶手套，耐酸碱，绒植内衬，约33cm","37-176","ansell",100,"双",11473891,"质量检定室",{"$nulls":3},"8#80双，9#20双"]
[13,60004529,"护目镜","防雾防风沙防尘防冲击","CZ0001","霍尼韦尔",300,"个",11475803,"科研管理部"]
[14,60066171,"生物危险品处理袋(中号)","手提，70cm×80cm/耐高温高压灭菌",null,"/",3000,"个",11475708,"科研管理部"]
[15,60066173,"生物危险品处理袋(大号)","手提，80cm×90cm/耐高温高压灭菌",null,"/",1000,"个",11475709,"科研管理部"]
[16,60066175,"生物危险品处理袋(小号)","手提，50cm×60cm/耐高温高压灭菌",null,"/",1000,"个",11475710,"科研管理部"]
[17,60080096,"防渗漏托盘（大）","规格尺寸720*720*155mm",null,"/",10,"个",11475764,"科研管理部"]
[18,60080096,"防渗漏托盘（小）","规格尺寸680*380*120mm",null,"/",70,"个",11475765,"科研管理部"]
[19,60097063,"20L实验室试剂桶(蓝）","规格尺寸260*290*415mm（蓝色）",null,"/",70,"个",11475766,"科研管理部"]
[20,60097063,"20L实验室试剂桶（绿）","规格尺寸260*290*415mm（绿色）",null,"/",70,"个",11475767,"科研管理部"]
[]
[1,60027074,"圆凳","钢管支架，带轮，皮革面，可升降，升降高度范围45-70CM（涵盖住50CM）",null,"/",150,"个",11475763,"科研管理部",2023060514,"不锈钢桌子","公开竞谈"]
[2,60014077,"不锈钢桌子","60cm*60cm*100cm 桌面下封边，没有死角",null,"/",20,"张",11475772,"科研管理部"]
[]
[1,50007585,"泵管","内径6.4mm外径11.4mm，卫生级硅胶，长30CM，两端配三通接头",null,"LANGERPUMP",100,"个",11467253,"培养基室",2023060515,"泵管等","公开竞谈"]
[2,60014617,"分装管（硅胶管）","内径6.4mm外径11.4mm食品级硅胶",null,"LANGERPUMP",300,"米",11467255,"培养基室"]
[3,60056858,"快装卡箍","φ38mm卡盘50.5mm/316",null,"新莱",50,"个",11467256,"培养基室"]
[4,60152020,"卫生型全不锈钢耐震隔膜压力表","PYTHN-63 径向卡盘φ50.5/0-0.6Mpa",null,"布莱迪",20,"块",11468532,"疫苗四室"]
[5,60046581,"维修工具(组合套装)","58件套","09516","世达",2,"套",11475711,"科研管理部"]
[6,60085353,"柜子锁芯","转舌锁，不锈钢材质，长度25mm",null,"/",360,"个",11475768,"科研管理部"]
[7,60085344,"挂锁","带钥匙，能穿过冰箱孔，孔径大小2cm*1cm",null,"/",50,"把",11475800,"科研管理部"]
[8,60002499,"铁剪子/12\"","长17cm,宽8.5cm",null,"/",6,"把",11475734,"科研管理部"]
[]
[1,60067130,"拖线板插座","分控6位/5米，新国标","GN-317","公牛",2,"个",11475737,"科研管理部",2023060516,"拖线板插座等","公开竞谈"]
[2,60067427,"拖线板插座","总控8位/10米，新国标","GN-403","公牛",2,"个",11475738,"科研管理部"]
[3,60067129,"拖线板插座/分控6位/3米","公牛 BULL 拖线板插座 分控6位 3米 (2017新国标) ","GN-313","公牛",6,"个",11475931,"科研管理部"]
[4,60003939,"磁卡套/A4（文件强磁盒）","22.2×30.3×1.9cm  面板，底板3毫米 侧面3毫米   6mm磁扣 24个",null,"/",100,"个",11473853,"质量检定室"]
[5,60058874,"厕所香薰瓶","白茶120ml",null,"名创优品",10,"个",11473854,"质量检定室"]
[6,60019206,"充电强光手电","神火 SupFire 强光手电筒可充电 A2 10W  含18650电池/USB充电线",null,"神火",10,"把",11473888,"质量检定室"]
[7,60047921,"洁而亮(特强抛光液)","洁而亮 特强清洁乳 500ml/瓶 ",null,"洁而亮",12,"瓶",11475712,"科研管理部"]
[8,60028623,"洗手液(泡沫型)","威露士 Walch 泡沫洗手液 300ml/瓶 24瓶/箱 (健康呵护)",null,"威露士",240,"瓶",11475713,"科研管理部"]
[9,60003605,"百洁布","妙洁 百洁布 4块/包 30包/箱","MHC4","妙洁",24,"块",11475714,"科研管理部"]
[10,60004372,"钢丝球","坚尔美 Jem 清洁球 钢丝球 68678  3个/包 20包/箱",null,"坚尔美",24,"个",11475715,"科研管理部"]
[11,60026238,"洗衣液/大瓶","蓝月亮洗衣液 3Kg强力去污 （薰衣草香） 4瓶/箱",null,"蓝月亮",50,"瓶",11475720,"科研管理部"]
[12,60006120,"鞋刷子","长200mm宽40mm软毛",null,"庭好",12,"个",11475736,"科研管理部"]
[13,60063868,"喷壶/小/500ml"," 喷雾水，500ml左右",null,"/",25,"个",11475761,"科研管理部"]
[14,60045066,"卫生间擦手纸","200抽/包，20包/箱",null,"维尔美",5,"箱",11475940,"科研管理部"]
[15,60049796,"更衣镜","壁挂，150CM×30CM",null,"/",12,"个",11475793,"科研管理部"]
[16,60043967,"玻璃贴膜","PVC材质，静电免胶，透明不透光,15.6cm*54.5cm",null,"/",10,"张",11475762,"科研管理部"]
[17,60043967,"玻璃贴膜","PVC材质，静电免胶，透明不透光,167cm*116.5cm",null,"/",9,"张",11475762,"科研管理部"]
[18,60043967,"玻璃贴膜","PVC材质，静电免胶，透明不透光,92cm*195cm",null,"/",3,"张",11475762,"科研管理部"]
[19,60043967,"玻璃贴膜","PVC材质，静电免胶，透明不透光,40cm*60cm",null,"/",8,"张",11475762,"科研管理部"]
[20,60038657,"挂衣架","立式、多人、棕色（加厚30cm理石底盘）",null,"杰睿美",1,"个",11475755,"科研管理部"]
[21,60046075,"洁净区电话","MT-616S",null,"密朗",25,"个",11475840,"科研管理部"]
[22,60009233,"保鲜膜","30CM×150CM",null,"妙洁",2,"卷",11475935,"科研管理部"]
[23,60162755,"LED临摹台透光板","A4大小，LED可调光",null,"格立特",5,"个",11475951,"科研管理部"]
[]
[1,50037377,"口腔支原体","0.4mL/支",23714,"ATCC",2,"支",11477115,"质量检定室",2023060517,"口腔支原体等","公开竞谈"]
[2,50037362,"肺炎支原体","0.4mL/支",15531,"ATCC",2,"支",11477116,"质量检定室"]
[3,50081983,"大肠杆菌","0.4mL/支",11229,"ATCC",2,"支",11477123,"质量检定室"]
[4,50035536,"白色念珠菌","0.4mL/支",10231,"ATCC",2,"支",11477127,"质量检定室"]
[5,50081981,"枯草芽孢杆菌黑色变种","0.4mL/支",9372,"ATCC",2,"支",11477128,"质量检定室"]
[6,50035529,"金黄色葡萄球菌","0.4mL/支",6538,"ATCC",2,"支",11477129,"质量检定室"]
[]
[1,50081414,"1.5＋0.8um过滤器(420cm2)","聚醚砜（PES）耐高压蒸汽灭菌","C02BBPLELA1P","科百特",20,"个",11475971,"科研管理部",2023060518,"过滤器等","公开竞谈"]
[2,50081413,"1.5＋0.8um过滤器（180cm2）","聚醚砜（PES）耐高压蒸汽灭菌","C01BBPLELA1P","科百特",20,"个",11475972,"科研管理部"]
[3,60164698,"1.5＋0.8um过滤器（660cm2）","聚醚砜（PES）耐高压蒸汽灭菌","C03BBPLELA1P","科百特",20,"个",11475973,"科研管理部"]
[4,50081421,"1.5＋0.8um过滤器（20cm2）","聚醚砜（PES）耐高压蒸汽灭菌","A50BBPLELA1P","科百特",20,"个",11475974,"科研管理部"]
["序号","物品名称","规格型号","厂家","计划数量","单位","SAP申请码","需求科室","采购方式","计划包号","项目名称"]
[1,"洗衣机","10Kg","/",1,"台",11449103,"疫苗二室","公开竞标",2023060608,"洗衣机"]